## Slide 1
On a MEMS-Based Parametrically Amplified Atomic Force Sensor
Michael B. Wolfson† and Noel C. MacDonald‡
† Cornell University ‡ University of California, Santa Barbara
750 N King Rd, #1202 Engineering II Building., Room 2355
San Jose, CA 95133-1565, USA Santa Barbara, CA 93106-5070, USA
email: mw34@cornell.edu email: nmacd@engineering.ucsb.edu
phone: +1 (408) 272-0120 phone: +1 (805) 893-5118
Measurement Setup
Here, we see that we can achieve very high gain with this
device under the right conditions.
Pump is at 5.7 kHz, varying from 4 to 8 V p-p with a 3 V DC offset.
The signal is ramped from 0 to 100 Hz at 10 V p-p. Max gain is 316.2
Here, we see that we can achieve a linear response over a
limited range.
Pump is at 10 kHz at 8 V p-p. Signal is measured at 5 frequencies.
Here, we can see all of the harmonics generated
when we operate the parametric amplifier.
Note how the harmonics near the pump are largest amplitude.
Pump is 3 V p-p with 5 V DC. Signal is pseudo-random
at 5 V from 1 to 3 kHz.
We rotate the previous data to give a clearer view of the
relative amplitudes
Clearer view of gain. This is a “cross-section” at a sample
approach voltage of 10.8 V.
The tip is resonating at 2898 Hz at -28.1 dBV. The output
signal is at 6145 Hz at -17.65 dBV. Gain is 10.45 dB.
The highest gain we have measured is 47.75 dB.
Here, we demonstrate that the resonant frequency depends
on the distance between the tip and the sample.
The system is driven by a 5 V pseudo-random signal
The sample approach actuator is ramped from 16 to 19.5 V.
AFM Tip
Paramp Overview
SCREAM Fabrication
System Overview
where f
1,0
=f
a
and f
0,1
=f
b
C(t) is the time-varying reactance
f
m,n
is a perfect bandpass filter at frequency f
Manley-Rowe Power Relations
We will be using a variable electrostatic stiffness as our
time-varying reactance
This stiffness is generated from a parallel plate electrostatic
actuator:
where Vt is the voltage applied across the plates, d is the initial
gap, xll is the stable point, and A is the area of the plate.
Here, we demonstrate that the gain observes the Manley-Rowe
power relationship. For a simple system, the gain is
proportional to the ratio of frequencies.
Pump is at 5 kHz. The signal is ramped from 20 to 350 Hz. We
have averaged over input amplitudes of 2.5 V to 10 V p-p
Here, we demonstrate that the output amplitude depends on the
Impedance in the system (impedance is least at resonance, 5.91 kHz).
The system is pumped by an 8V p-p signal at 5.6 kHz
The input signal is ramped from 10 to 400 Hz at 8 V p-p
Parametric Amplification
Atomic Force Sensing
Parametric Amplification of Sensed Measurement
Parametric Amplifier Subsystem
Gain of 49.9 dB
Linear amplification
Observes Manley-Rowe behavior
No transistors
AFM Subsystem
Displays frequency shift of 62.4 %
Integrated sample
Complete System
Maximum measured gain of 47.7 dB
Fully integrated (no assembly or alignment)
Parametric amplifier mixes and amplifies results of AFM sensor
Overview
Introduction
On-chip preamplification of signals
Amplifier integrated with sensor
Reduce effect of parasitic capacitance
No transistors
No need to integrate VLSI with MEMS
Low noise gain
Upconvert to a higher frequency
We use nonlinear mixing to raise small,
low frequency signals above the noise floor
• Using a characterized nonlinear component in an otherwise
linear system, we can convolve a small amplitude, low
frequency signal (signal) with a high frequency, high
amplitude signal (“carrier” or “pump”).
• This is a subset of a phenomenon known as ‘mixing’,
wherein the convolution of two signals produces the
set of all of the harmonics.
• If, at the output, we filter all but one of the harmonics,
then we can demodulate this signal to restore the initial input.
Acknowledgements
This work would not have been possible
without the support of the following:
• The members of the MacDonald Research Group
• The CNF Staff
• Kionix Inc.
• DARPA
Measurement Techniques
The state (i.e. displacement) of the system was detected using a
capacitive sensor via amplitude modulation techniques
(carrier frequency = 100 kHz, bandwidth = 8.6 kHz).
All leads are coaxial/shielded from the pins of the differential amplifier to the
pins of the packaged device to reduce parasitic capacitance/ambient
effects.
The noise floor of the circuit corresponds to ~0.9 nm, as calibrated by a
Polytec OFV3001 Laser Vibrometer system.
m,n